2

Certificate of

Compliance

UL-US-2020332-1

E28476-20210309

|  |  | Issued to: |
| --- | --- | --- |
| Certificate Number: EX744 Report Reference: EX744-19720121 Issue Date: 2024-03-14 |  | RELIABLE AUTOMATIC SPRINKLER CO INC 1470 Smith Grove Rd Liberty SC, 29657 United States This certificate confirms that representative samples of: VALVES, ALARM See Addendum Page for Product Designation(s). Have been evaluated by UL in accordance with the Standard(s) indicated on this Certificate. UL 193 - Standard for Alarm Valves for Fire-Protection Service ULC/ORD-C193-1975 - Standard for Alarm Valves for Fire-Protection Service Additional Information: See UL Product iQ® at https://iq.ulprospector.com for additional information. |
|  |  | This Certificate of Compliance indicates that representative samples of the product described in the certification report have met the requirements for UL certification. It does not provide authorization to apply the UL Mark. Only the Authorization Page that references the Follow-Up Services Procedure for ongoing surveillance provides authorization to apply the UL Mark. Only those products bearing the UL Mark should be considered as being UL Certified and covered under UL’s Follow-Up Services. Look for the UL Certification Mark on the product. |

This is to certify that representative samples of the product as specified on this certificate were tested according to the current UL requirements.

| Model | Body Type | Nominal Pipe Size, NPS | End Configuration | Maximum Rated Pressure, psig (kPa) | Alarm Device Model | Alarm Device Type | Installation Orientation |
| --- | --- | --- | --- | --- | --- | --- | --- |
| E+ | Globe | 2-1/2, 3, 4, 6, 8, and 65 mm | G by G, F by G | 175 (1206) | C | Water Motor Gong | V, H |
|  |  |  |  |  | UL Listed (VQXZ) | Electric Pressure Switch |  |
| E w/ E-3 Compact Trim+ | Globe | 4, 6, 8 | G by G, F by G | 175 (1206) | C | Water Motor Gong | V, H |
|  |  |  |  |  | UL Listed (VQXZ) | Electric Pressure Switch |  |
| E-3 w/ E-3 Compact Trim* | Globe | 2-1/2, 3, 4, 6, 8 | G by G | 300 (2068) | C | Water Motor Gong | V, H |
|  |  |  |  |  | UL Listed (VQXZ) | Electric Pressure Switch |  |

+- May incorporate the use of the Model E-1 Retard Chamber for variable pressure service with Model A or B strainer.

*- May incorporate the use of the Model S-1 Retard Chamber for variable pressure service.

V- Vertical Installation.

H- Horizontal Installation.